## Rezultati
Karakteristike izračuna modela
ID | Penalizacija | Stopa penalizacije | Baterija | Profit | % variations | P_pv_install | binary_pv | E_battery_capacity | binary_battery | P_battery_MAX | P_contracted | P_cs_contracted | C_total | C_invest | C_ee_operational | C_ee_annual | C_profit_annual | C_profit | C_maintenance | C_pv_maintenance | C_battery_maintenance | C_pl_maintenance | C_variations_annual | C_variations | C_loan | C_annuity | C_battery_replacement
1 | FALSE | 0 | 200 | TRUE | 0% | 60 | 1 | 250.8033 | 1 | 62.7008 | 150 | 0 | 956285.3662 | 103712.4598 | 848040.7875 | 59580.6986 | 5551.0953 | 79011.4141 | 35464.3374 | 1800 | 1003.2131 | 240 | 840276 | 0 | 40429.4552 | 5756.2449 | 7649.7403
2 | TRUE | 0.005 | 200 | TRUE | 0.3943% | 60 | 1 | 244.5264 | 1 | 61.1316 | 150 | 0 | 956580.3707 | 102833.6983 | 845612.2953 | 59410.0803 | 5239.9373 | 74582.5523 | 35171.7454 | 1800 | 978.1057 | 240 | 64729.5993 | 3771.6588 | 40086.8942 | 5707.4719 | 7458.2898
3 | FALSE | 0 | 200 | FALSE | 0% | 60 | 1 | 239.765 | 1 | 59.9413 | 150 | 0 | 962605.2169 | 102167.1025 | 778348.2156 | 54684.316 | 2.2136 | 31.5067 | 34949.796 | 1800 | 959.0601 | 240 | 789944 | 0 | 39827.0401 | 5670.4745 | 7313.0626
4 | TRUE | 0.005 | 200 | FALSE | 0.3784% | 60 | 1 | 233.7208 | 1 | 58.4302 | 150 | 0 | 962819.0624 | 101320.9175 | 780204.2069 | 54814.7122 | 3.5562 | 50.6169 | 34668.0506 | 1800 | 934.8834 | 240 | 62529.4735 | 3643.4621 | 39497.1781 | 5623.5096 | 7128.7094
1 | FALSE | 0 | 200 | TRUE | 0% | 60 | 1 | 250.8033 | 1 | 62.7008 | 150 | 0 | 956285.3662 | 103712.4598 | 848040.7875 | 59580.6986 | 5551.0953 | 79011.4141 | 35464.3374 | 1800 | 1003.2131 | 240 | 840276 | 0 | 40429.4552 | 5756.2449 | 7649.7403
5 | TRUE | 0.004 | 200 | TRUE | 0.3249% | 60 | 1 | 245.5784 | 1 | 61.3946 | 150 | 0 | 956477.5738 | 102980.9816 | 846171.5162 | 59449.3694 | 5306.5298 | 75530.3949 | 35220.7848 | 1800 | 982.3138 | 240 | 66670.0698 | 3107.7808 | 40144.3085 | 5715.6464 | 7490.3776
3 | FALSE | 0 | 200 | FALSE | 0% | 60 | 1 | 239.765 | 1 | 59.9413 | 150 | 0 | 962605.2169 | 102167.1025 | 778348.2156 | 54684.316 | 2.2136 | 31.5067 | 34949.796 | 1800 | 959.0601 | 240 | 789944 | 0 | 39827.0401 | 5670.4745 | 7313.0626
6 | TRUE | 0.004 | 200 | FALSE | 0.3098% | 60 | 1 | 235.0554 | 1 | 58.7638 | 150 | 0 | 962741.7094 | 101507.7509 | 779764.2763 | 54783.804 | 3.2671 | 46.5017 | 34730.2586 | 1800 | 940.2215 | 240 | 63983.9939 | 2982.5712 | 39570.01 | 5633.8792 | 7169.4137
1 | FALSE | 0 | 200 | TRUE | 0% | 60 | 1 | 250.8033 | 1 | 62.7008 | 150 | 0 | 956285.3662 | 103712.4598 | 848040.7875 | 59580.6986 | 5551.0953 | 79011.4141 | 35464.3374 | 1800 | 1003.2131 | 240 | 840276 | 0 | 40429.4552 | 5756.2449 | 7649.7403
7 | TRUE | 0.0025 | 200 | TRUE | 0.2108% | 60 | 1 | 246.3399 | 1 | 61.585 | 150 | 0 | 956380.4201 | 103087.5863 | 847052.6883 | 59511.2778 | 5389.7988 | 76715.6027 | 35256.2799 | 1800 | 985.3596 | 240 | 69201.9788 | 2016.1275 | 40185.8654 | 5721.5632 | 7513.6029
3 | FALSE | 0 | 200 | FALSE | 0% | 60 | 1 | 239.765 | 1 | 59.9413 | 150 | 0 | 962605.2169 | 102167.1025 | 778348.2156 | 54684.316 | 2.2136 | 31.5067 | 34949.796 | 1800 | 959.0601 | 240 | 789944 | 0 | 39827.0401 | 5670.4745 | 7313.0626
8 | TRUE | 0.0025 | 200 | FALSE | 0.2003% | 60 | 1 | 236.9613 | 1 | 59.2403 | 150 | 0 | 962657.1218 | 101774.58 | 779161.8678 | 54741.4807 | 2.8541 | 40.6245 | 34819.1019 | 1800 | 947.8451 | 240 | 66191.8843 | 1928.4316 | 39674.026 | 5648.6887 | 7227.5461
1 | FALSE | 0 | 200 | TRUE | 0% | 60 | 1 | 250.8033 | 1 | 62.7008 | 150 | 0 | 956285.3662 | 103712.4598 | 848040.7875 | 59580.6986 | 5551.0953 | 79011.4141 | 35464.3374 | 1800 | 1003.2131 | 240 | 840276 | 0 | 40429.4552 | 5756.2449 | 7649.7403
9 | TRUE | 0.002 | 200 | TRUE | 0.1707% | 60 | 1 | 246.5318 | 1 | 61.6329 | 150 | 0 | 956358.2399 | 103114.4491 | 847339.8686 | 59531.4542 | 5415.1961 | 77077.0943 | 35265.2241 | 1800 | 986.1271 | 240 | 70046.1551 | 1632.5774 | 40196.3371 | 5723.0541 | 7519.4553
3 | FALSE | 0 | 200 | FALSE | 0% | 60 | 1 | 239.765 | 1 | 59.9413 | 150 | 0 | 962605.2169 | 102167.1025 | 778348.2156 | 54684.316 | 2.2136 | 31.5067 | 34949.796 | 1800 | 959.0601 | 240 | 789944 | 0 | 39827.0401 | 5670.4745 | 7313.0626
10 | TRUE | 0.002 | 200 | FALSE | 0.1617% | 60 | 1 | 237.8608 | 1 | 59.4652 | 150 | 0 | 962641.4141 | 101900.5081 | 778901.7783 | 54723.2076 | 2.6593 | 37.8508 | 34861.0308 | 1800 | 951.4431 | 240 | 66787.0588 | 1556.6171 | 39723.1156 | 5655.678 | 7254.9813
11 | FALSE | 0 | 300 | TRUE | 0% | 60 | 1 | 111.2932 | 1 | 27.8233 | 150 | 0 | 980654.9731 | 91971.5809 | 857180.7912 | 60222.8467 | 2880.3157 | 40996.9207 | 31555.1 | 1800 | 667.7595 | 240 | 655568 | 0 | 35852.5959 | 5104.6031 | 5091.8257
12 | TRUE | 0.005 | 300 | TRUE | 0.2943% | 60 | 1 | 104.2463 | 1 | 26.0616 | 150 | 0 | 980872.9182 | 90491.7265 | 857079.9104 | 60215.7591 | 2656.1471 | 37806.221 | 31062.3684 | 1800 | 625.4779 | 240 | 49545.1875 | 2886.8948 | 35275.7153 | 5022.4682 | 4769.4187
13 | FALSE | 0 | 300 | FALSE | 0% | 60 | 1 | 119.5185 | 1 | 29.8796 | 150 | 0 | 986592.3104 | 93698.8888 | 818769.1146 | 57524.1622 | 108.5668 | 1545.2841 | 32130.2236 | 1800 | 717.1111 | 240 | 682026 | 0 | 36525.9395 | 5200.472 | 5468.1439
14 | TRUE | 0.005 | 300 | FALSE | 0.2956% | 60 | 1 | 114.559 | 1 | 28.6397 | 150 | 0 | 986750.0919 | 92657.3846 | 820948.0872 | 57677.25 | 119.3897 | 1699.331 | 31783.4449 | 1800 | 687.3538 | 240 | 50061.0791 | 2916.9547 | 36119.9376 | 5142.6665 | 5241.2376
11 | FALSE | 0 | 300 | TRUE | 0% | 60 | 1 | 111.2932 | 1 | 27.8233 | 150 | 0 | 980654.9731 | 91971.5809 | 857180.7912 | 60222.8467 | 2880.3157 | 40996.9207 | 31555.1 | 1800 | 667.7595 | 240 | 655568 | 0 | 35852.5959 | 5104.6031 | 5091.8257
15 | TRUE | 0.004 | 300 | TRUE | 0.2425% | 60 | 1 | 105.8765 | 1 | 26.4691 | 150 | 0 | 980794.1982 | 90834.0698 | 857049.4737 | 60213.6208 | 2706.2157 | 38518.8716 | 31176.3549 | 1800 | 635.2591 | 240 | 51019.6241 | 2378.2457 | 35409.1684 | 5041.469 | 4844.003
13 | FALSE | 0 | 300 | FALSE | 0% | 60 | 1 | 119.5185 | 1 | 29.8796 | 150 | 0 | 986592.3104 | 93698.8888 | 818769.1146 | 57524.1622 | 108.5668 | 1545.2841 | 32130.2236 | 1800 | 717.1111 | 240 | 682026 | 0 | 36525.9395 | 5200.472 | 5468.1439
16 | TRUE | 0.004 | 300 | FALSE | 0.2422% | 60 | 1 | 116.0485 | 1 | 29.0121 | 150 | 0 | 986685.3207 | 92970.1791 | 820276.2926 | 57630.0518 | 116.4773 | 1657.8777 | 31887.5928 | 1800 | 696.2908 | 240 | 51268.994 | 2389.8699 | 36241.872 | 5160.0272 | 5309.3843
11 | FALSE | 0 | 300 | TRUE | 0% | 60 | 1 | 111.2932 | 1 | 27.8233 | 150 | 0 | 980654.9731 | 91971.5809 | 857180.7912 | 60222.8467 | 2880.3157 | 40996.9207 | 31555.1 | 1800 | 667.7595 | 240 | 655568 | 0 | 35852.5959 | 5104.6031 | 5091.8257
17 | TRUE | 0.0025 | 300 | TRUE | 0.1575% | 60 | 1 | 107.3308 | 1 | 26.8327 | 150 | 0 | 980717.1699 | 91139.4615 | 857210.1718 | 60224.9109 | 2764.5558 | 39349.2552 | 31278.038 | 1800 | 643.9846 | 240 | 53011.9424 | 1544.4477 | 35528.217 | 5058.4188 | 4910.5368
13 | FALSE | 0 | 300 | FALSE | 0% | 60 | 1 | 119.5185 | 1 | 29.8796 | 150 | 0 | 986592.3104 | 93698.8888 | 818769.1146 | 57524.1622 | 108.5668 | 1545.2841 | 32130.2236 | 1800 | 717.1111 | 240 | 682026 | 0 | 36525.9395 | 5200.472 | 5468.1439
18 | TRUE | 0.0025 | 300 | FALSE | 0.1557% | 60 | 1 | 117.8822 | 1 | 29.4705 | 150 | 0 | 986629.1016 | 93355.2592 | 819472.7692 | 57573.5988 | 112.9384 | 1607.5063 | 32015.8089 | 1800 | 707.2931 | 240 | 52722.2385 | 1536.0075 | 36391.9849 | 5181.3999 | 5393.2794
11 | FALSE | 0 | 300 | TRUE | 0% | 60 | 1 | 111.2932 | 1 | 27.8233 | 150 | 0 | 980654.9731 | 91971.5809 | 857180.7912 | 60222.8467 | 2880.3157 | 40996.9207 | 31555.1 | 1800 | 667.7595 | 240 | 655568 | 0 | 35852.5959 | 5104.6031 | 5091.8257
19 | TRUE | 0.002 | 300 | TRUE | 0.1274% | 60 | 1 | 108.4817 | 1 | 27.1204 | 150 | 0 | 980701.2016 | 91381.1636 | 857176.5589 | 60222.5494 | 2796.2708 | 39800.6688 | 31358.515 | 1800 | 650.8904 | 240 | 53626.2242 | 1249.8753 | 35622.4379 | 5071.8338 | 4963.195
13 | FALSE | 0 | 300 | FALSE | 0% | 60 | 1 | 119.5185 | 1 | 29.8796 | 150 | 0 | 986592.3104 | 93698.8888 | 818769.1146 | 57524.1622 | 108.5668 | 1545.2841 | 32130.2236 | 1800 | 717.1111 | 240 | 682026 | 0 | 36525.9395 | 5200.472 | 5468.1439
20 | TRUE | 0.002 | 300 | FALSE | 0.1253% | 60 | 1 | 118.0883 | 1 | 29.5221 | 150 | 0 | 986620.929 | 93398.5448 | 819380.5946 | 57567.1229 | 112.5301 | 1601.6956 | 32030.2212 | 1800 | 708.5299 | 240 | 53031.6937 | 1236.0185 | 36408.8586 | 5183.8024 | 5402.7097