## Rezultati
Karakteristike izračuna modela
ID | Penalizacija | Stopa penalizacije | Baterija | Profit | % variations | P_pv_install | binary_pv | E_battery_capacity | binary_battery | P_battery_MAX | P_contracted | P_cs_contracted | C_total | C_invest | C_ee_operational | C_ee_annual | C_profit_annual | C_profit | C_maintenance | C_pv_maintenance | C_battery_maintenance | C_pl_maintenance | C_variations_annual | C_variations | C_loan | C_annuity | C_battery_replacement
1 | TRUE | 0.00071429 | 200 | TRUE | 0.5932% | 60 | 1 | 40.3801 | 1 | 10.095 | 43.955 | 43.955 | 39350.0046 | 81176.1241 | 127051.1956 | 8926.2204 | 15977.0347 | 227408.8324 | 25655.6018 | 1800 | 161.5205 | 240 | 28043.2596 | 233.4318 | 31644.2834 | 4505.434 | 1231.6322
2 | TRUE | 0.00071429 | 200 | TRUE | 0.9419% | 60 | 1 | 24.192 | 1 | 6.048 | 48.002 | 48.002 | 34560.6369 | 79547.195 | 148469.7658 | 10431.0223 | 17571.5612 | 250104.4968 | 24901.0036 | 1800 | 96.768 | 240 | 39107.444 | 325.5299 | 31009.2901 | 4415.0253 | 737.8792
3 | TRUE | 0.0025 | 200 | TRUE | 0.1862% | 60 | 1 | 290.3768 | 1 | 72.5942 | 150 | 0 | 970840.651 | 109252.7544 | 846517.1476 | 59473.6524 | 5176.8247 | 73684.2403 | 37309.0313 | 1800 | 1161.5073 | 240 | 62043.2878 | 1807.5665 | 42589.187 | 6063.7421 | 8856.771
4 | TRUE | 0.0025 | 200 | TRUE | 0.2146% | 60 | 1 | 247.3305 | 1 | 61.8326 | 150 | 0 | 958387.5794 | 103226.2651 | 848096.169 | 59584.5895 | 5341.0017 | 76021.0505 | 35302.4543 | 1800 | 989.3219 | 240 | 70587.0581 | 2056.4804 | 40239.9256 | 5729.2601 | 7543.816
|  | P_grid_max, m |  |  | a | b | c | d | e
|  | Mjesec | model1 | model2 | model3 | model4 | zgrada | model1+zgrada | model2+zgrada | a vs c | b vs c | d vs c | e vs c | a vs b | d vs e
|  | 0 | 32.285 | 36.332 | 73.5875 | 74.4205 | 118 | 150.285 | 154.332 | 44.4125 | 43.5795 | -32.285 | -36.332 | 0.83304 | 4.047
|  | 1 | 34.753 | 38.8 | 55.1463 | 55.7623 | 83 | 117.753 | 121.8 | 27.8537 | 27.2377 | -34.753 | -38.8 | 0.61605 | 4.047
|  | 2 | 40.461 | 44.508 | 55.2811 | 59.2934 | 78.2 | 118.661 | 122.708 | 22.9189 | 18.9066 | -40.461 | -44.508 | 4.0123 | 4.047
|  | 3 | 43.955 | 48.002 | 51.9089 | 56.3246 | 67.4 | 111.355 | 115.402 | 15.4911 | 11.0754 | -43.955 | -48.002 | 4.4157 | 4.047
|  | 4 | 41.827 | 45.874 | 44.0251 | 44.6992 | 62 | 103.827 | 107.874 | 17.9749 | 17.3008 | -41.827 | -45.874 | 0.6741 | 4.047
|  | 5 | 40.521 | 43.38 | 54.3529 | 59.5992 | 79.8 | 120.321 | 123.18 | 25.4471 | 20.2008 | -40.521 | -43.38 | 5.2464 | 2.859
|  | 6 | 39.486 | 42.334 | 59.7407 | 65.329 | 100.6 | 140.086 | 142.934 | 40.8593 | 35.271 | -39.486 | -42.334 | 5.5883 | 2.848
|  | 7 | 39.8728 | 42.326 | 42.5869 | 40.7797 | 83.2 | 123.0728 | 125.526 | 40.6131 | 42.4203 | -39.8728 | -42.326 | -1.8072 | 2.4532
|  | 8 | 38.6631 | 42.264 | 55.357 | 58.7387 | 84 | 122.6631 | 126.264 | 28.643 | 25.2613 | -38.6631 | -42.264 | 3.3817 | 3.6009
|  | 9 | 34.3968 | 35.762 | 54.9166 | 57.5305 | 80 | 114.3968 | 115.762 | 25.0834 | 22.4695 | -34.3968 | -35.762 | 2.6139 | 1.3652
|  | 10 | 25.423 | 29.47 | 54.2813 | 59.2889 | 93.4 | 118.823 | 122.87 | 39.1187 | 34.1111 | -25.423 | -29.47 | 5.0076 | 4.047
|  | 11 | 24.685 | 28.732 | 58.789 | 60.4024 | 97.6 | 122.285 | 126.332 | 38.811 | 37.1976 | -24.685 | -28.732 | 1.6133 | 4.047
[5 empty] | 54.9978 | 57.6807 | 85.6 | 121.9607 | 125.4153
[5 empty] | 30.6022 | 27.9193 |  | 36.3607 | 39.8153 | 206008.349 | 218461.4206 | 1137498.9954 | 1142288.3631 | -12453.0716 | -4789.3677
[5 empty] | 66.9629 | 67.7346
[5 empty] | 35.75% | 32.62% |  | 42.48% | 46.51%
total building cost
|  | 1176849 |  |  |  | 2.0423 | 2.0738 | 1.2736 | 1.3079
1216199.0046
1211409.6369